Model ：- Type 1600CHM

Combination items for testing the headset with microphone

Items of combination: 160C+181C+142ES (2 sets) +142FS +140M   ( See below figure)

Test object: Headset with microphone

Explanation: (a) Has analysis and statistics (Cp, Ca, Cpk) function

(b) Functions:

( I ) Headphone characteristics :

Frequency Response :

20Hz ~ 20KHz by using Model-142ES

Sensitivity

AC Impedance Test  ( 2 ~ 1000 Ohms )

DCR Test  (  2 ~ 1000 Ohms )

Polarity Test

Fo Test

PAP Test  (Peak Acoustic Pressure Test)

Harmonic distortion test or Buzz and rattle test.

Distortion Curve

Balance test

( II ) Microphone characteristics :

Frequency Response (100Hz ~ 8KHz)

Sensitivity

ECM DC current

Harmonic distortion test

Supply power voltage to ECM: +0.9V ~ +9V adjustable

Loading resistor to ECM: 180 Ohms ~ 9 K Ohms, adjustable

The Figure of combination: 160C+181C+142ES (2 sets) +142FS +140M

| Model-160C | Model-181C | Model-142ES *2 + 140M + 142FS |
| --- | --- | --- |