Model ：- Type 1600CS

Combination items for loudspeaker or loudspeaker box system testing

Items of combination: 160C + 181C + 8120H (one set)   (See below figure)

Test object: Loudspeaker or loudspeaker box system.

Explanation: (a) Testable functions:

Frequency Response (20Hz ~ 20KHz) & Sensitivity

AC Impedance Test  ( 2 ~ 1000 Ohms )

DCR Test  ( 2 ~ 1000 Ohms )

Polarity Test

Fo Test

Harmonic distortion or buzz & rattle test

Distortion Curve

(b) Has analysis and statistics (Cp, Ca, Cpk) function.

The Figure of combination: 160C + 181C + 8120H (one set)

| Model-160C | Model-181C | Model-8120H |
| --- | --- | --- |